MCB enclosure (HAG series)

>> Introduction

|  | HAG series of surface box is kind of good-looking outline small volume, easy to install economically modular distribution box.It mainly use for building electric distribution system's installation,matched and house rebuild fitment etc. Application.The max rated current is 63A. |
| --- | --- |

| Technique parameter |  |
| --- | --- |
| Distribution box rated current: | 1 way to 4 way:50A |
|  | 6 way to 18 way:63A |
| Material |  |
| Insutation: | Fire-proof type refractory material |
| Color: | Whitie color |
| standard: | accord with IEC X40439-3 |
| Protective Degree |  |
| IEC60529: | IP30 |
|  | Fire-resistant andanomaly heat abiliy |
|  | IEC60529-1 standard,650C/30sec |
| Compositian,structure. | Removable matte blocks to increase the poles. |
|  | The removable various size holes are available on the box of up and down,bottom in case of connecting wires in and out. |

>> Outline dimension and packing information

| MCB enclosure, | Way No. | Carton L*W*H（cm) | （PCS/CTN） | G.W.（kgs/ctn) | N.W.（kgs/ctn) |
| --- | --- | --- | --- | --- | --- |
| 1P 34X130X60 | 1way | 53*45*31 | 200 | 17.7 | 16.6 |
| 2P 52X130X60 | 2way | 56*54*36.5 | 200 | 20.9 | 19.8 |
| 4P 87X130X60 | 4way | 53*45*31 | 100 | 11.6 | 10.5 |
| 6P 125X160X60 | 6way | 63*49*37 | 90 | 15.6 | 14.5 |
| 8P 160X160X60 | 8way | 64.49*31 | 60 | 12.5 | 11.4 |
| 12P 260X160X60 | 12way | 54.5*35.5*36 | 20 | 9 | 8 |
| 18P 365X160X60 | 18way | 76.5*35.5*36 | 20 | 11 | 10 |

>> High-strength cartons,  good for long-distance export transport