Modular distribution box (BE series)

>> Introduction

|  | The cover is double-curved and designed with a dewy, simple and elegant appearance. |
| --- | --- |

Technical Specification

Product series: embedded mounting distribution box/surface mountingdistribution box

Ways:4way, 7way, 10way, 12way, 14way, 16way, 18way, 20way, 24way(embedded mounting), 28way, 40way

Products: 1.embedded mounting

BEP-A 104, BEP-A 107, BEP-A 110, BEP-A 112. BEP-A 114, BEP-A 116, BEP-A 118, BEP-A 120,

BEP-A124, BEP-A228, BEP-A240

2.surface mounting

BEP-M 104, BEP-M 107, BEP-M 110, BEP-M 112, BEP-M 114, BEP-M116, BEP-M 118, BEP-M 120,

BEP-M 228, BEP-M 240

Box base material: high-quality cold-rolled plate, electrostatic powder coated

single row embedded-mounting box dimension(width*height):(4way)143x75mm,(7一20way)192x75 mm,

(24way)230x90mm

Cover material: high-quality ABS for cover base and white movable door, high-quality PC for transparent movable door,

Cover installation: fixed with screw

Box installation: 1 .embedded mounting 2. Surface mounting

Way size: 18 mm (standard width)

Terminal cross-section dimension:①4~20way 6 x 10mm

②24~ 40way 6.4 x 12mm

Rated voltage(V):~AC400V( ±20%) 50~60HZ

Rated current/Max. Current input:①55A(4~20way) 6 x 10mm

②63A(24~40way) 6.4 x 12mm

Product standard: GB17466.1-2008, GB17466.24-2008

Ingress protection: IP40

> Packing information

| Specification & Description |  | Photo | Carton L*W*H（cm) | (PCS/CTN) |
| --- | --- | --- | --- | --- |
| Distribution Box |  |  |  |  |
| BE-M104 | Surface mounting |  | 505×190×360 | 10 |
| BE-M107 |  |  | 520×245×465 | 10 |
| BE-M110 |  |  | 520×300×465 | 10 |
| BE-M112 |  |  | 520×335×465 | 10 |
| BE-M114 |  |  | 520×235×375 | 5 |
| BE-M116 |  |  | 520×235×415 | 5 |
| BE-M118 |  |  | 520×235×450 | 5 |
| BE-M120 |  |  | 520×235×485 | 5 |
| BE-M228 |  |  | 445×165×410 | 1 |
| BE-M240 |  |  | 445×165×520 | 1 |
| BEP(2013)-A 104 | Embedded mounting |  | 505*190*360 | 10 |
| BEP(2013)-A 107 |  |  | 520*245*465 | 10 |
| BEP(2013)-A 110 |  |  | 520*300*465 | 10 |
| BEP(2013)-A 112 |  |  | 520*335*465 | 10 |
| BEP(2013)-A 114 |  |  | 520*235*375 | 5 |
| BEP(2013)-A 116 |  |  | 520*235*415 | 5 |
| BEP(2013)-A 118 |  |  | 520*235*450 | 5 |
| BEP(2013)-A 120 |  |  | 520*235*485 | 5 |
| BEP(2013)-A 124 |  |  | 600*275*565 | 5 |
| BEP(2013)-A 228 |  |  | 485*165*410 | 1 |
| BEP(2013)-A 240 |  |  | 485*165*520 | 1 |

BE series

| Cover | Box Base |
| --- | --- |

Surface mounting box base is made of high quality cold-rolled plate,1.0mm thickness for one row and 1.2mm for two rows.Embedded mounting box base is made of high quality cold-rolled plate, 0.8mm for one row and 1.0mm for two rows.The surface of the plate is electrostatic powder coated and the tolerance is fully complied with the PT.A tolerance requirements in GB/t 708-2006.

Product way(embedded mounting):

4way,7way,10way,12way,14way,16way,18way,20way,24way,28way,40way.

Product way(surface mounting):

4way,7way,10way,12way,14way,16way,18way,20way,24way,28way,40way.