Plug-in version accessory

>> CM 1 Plug-in version accessory

| Type | Scope of application | Specification and quantities | Contact pin | Arc-isolation plate and quantities | Plug-in version install using hexagonal screw and quantities | Circuit breaker install using screw and quantities | Contact pin fixed screw and quantities | User bind the board install using screw and quantities |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 63 Type plug-in version | CM1-63,NM1-63,CDM1-63,TM30-63 | 1 | 6 | 4 | 4-M6X23 | 4-M3X18 | 6-M5copper nut | 6-M5X10 |
| 100 Type plug-in version | CM1-100,NM1-100,CDM1-100,TM30-100 | 1 | 6 | 4 | 4-M6X23 | 4-M4X45 | 6-M6X14 | 6-M6X12 |
| 225 Type plug-in version | CM1-225,NM1-225,CDM1-225,TM30-225 | 1 | 6 | 4 | 4-M5X23 | 4-M4X45 | 4-M6X16 | 6-M8X16 |
| 400Type plug-in version | CM1-400,NM1-400,CDM1-400,TM30-400 | 1 | 6 | 4 | 4-M8X40 | 4-M6X45 | 4-M8X35 | 6-M10X20 |
| 630 Type plug-in version | CM1-630,NM1-630,CDM1-630,TM30-630 | 1 | 6 | 4 |  |  |  |  |

1.63Type circuit breaker for distribution using Plug-in version installation  drawing installation and overall size

2.100Type circuit breaker for distribution using Plug-in version installation  drawing installation and overall size

3.225Type circuit breaker for distribution using Plug-in version installation  drawing installation and overall size

4.400Type circuit breaker for distribution using Plug-in version installation  drawing installation and overall size

>> Hickey series

Annexe of DM1(ABB) circuit breaker series

Installation mode                                              Table 7

| Rated current of frame size Inm | Installation mode |  |  |  |
| --- | --- | --- | --- | --- |
|  | Plug-in version |  | Draw-out version |  |
|  | 3P | 4P | 3P | 4P |
| 63A | £ | £ | - | - |
| 100A | £ | £ | - | - |
| 160A | £ | £ | - | - |
| 250A | £ | £ | £ | £ |
| 400A | £ | £ | £ | £ |
| 630A | - | - | £ | £ |
| 800A | - | - | £ | £ |
| 1250A | - | - | £ | £ |
| 1600A | - | - | £ | £ |

DAM1(ABB)-125APlug-in version                DAM1(ABB)-160APlug-in version

DAM1(ABB)-250A                       DAM1(ABB)-400A                            DAM1(ABB)-400A

Plug-in version                           Plug-in version                                Plug-in version

(3P front terminals)                        (3P rear terminals)

DAM1(ABB)-400A                              DAM1(ABB)-400A                     DAM1(ABB)-630A

Plug-in version                                  Plug-in version                          Plug-in version

(4P front terminals)                              (4P rear terminals)