Auxiliary and alarm contacts series

>> Application:

The auxiliary contacts is intended for automatical controlling of the auxiliary circuit of MCCB,and open action of current,and under voltage of  circuit and equipment.

>> Auxiliary and alarm contacts size:

1N/O and 1N/C+1alarm contact

2N/O and2N/C+1alarm contact

>> Wiring diagram of Auxiliary and alarm contacts:

| State of MCCB | State of alarm contacts | diagram of wiring |
| --- | --- | --- |
| Close position |  | Explanation Us1 is auxiliary power Us2 is alarm power |
| Open position |  | Explanation Us1 is auxiliary power Us2 is alarm power |

| CM1-63FB CM1, TM30(NF30) CDM1-63A | CM 1-100FB CM1, TM30(NF30) CDM1-100A | CM 1-225FB CM1, TM30(NF30) CDM1-225A |
| --- | --- | --- |

| CM1-400FB CM1, TM30(NF30) CDM1-400 | DAM1-250/400FB DAM1(ABB)-250A,400A | DZ20-100FB DZ20-100A |
| --- | --- | --- |

DZ20-225FC

DZ20-225A